## Sheet1
Sheet | Parameter | Title | Explanation
Node
| Loss of load (TWh) | Load shedding | Load shedding to mitigate lack of generation capacity
| Excess load (TWh) | Excess load | Increase of demand to mitigate forced overgeneration
| Curtailed (TWh) | VRE curtailment | Curtailed VRE generation
| Spill (TWh) | Spill from storages | Spill from storages
| Uncurtailed net load (TWh) | Net load before curtailments | Net load (demand minus VRE generation) before curtailments
| Generation non-VRE (TWh) | Non-VRE generation | Non-VRE generation
| Charge (TWh) | Increased demand/charging | Increased demand and charging of storages
| Transfer in (TWh) | Transfers to the node | Transfers to the node
| Transfer out (TWh) | Transfers out of the node | Transfers out of the node
| Converted (TWh) | Energy conversions to/from node | Energy conversions from (positive) and/or to (negative) node
| Required reserve (TWh) | Required reserve capacity | The required upward reserve based on the exogenous time series ('ts_reserves' in the input file)
| Reserves non-VRE (TWh) | Reserves procured from non-VRE | Upward reserve provided by non-VRE units (VRE units use 'cf' time series or 'inflow' without storage)
| Reserves VRE (TWh) | Reserves procured from VRE | Upward reserve provided by VRE units (VRE units use 'cf' time series or 'inflow' without storage)
Duration |  | Duration curves and nominal capacities | Upper line shows the duration curve (modelled time periods in descending order) of the electricity demand and lower line the duration curve of the net load. Leftmost columns show capacity of non-VRE units and rightmost column shows the capacity of VRE units as well as storages.
DurationRamp |  | Ramp duration curves and nominal ramping capacities | Duration curve for the net load ramps (change from one time period to the next) as well as the ramping capability (MWh/h) of non-VRE units (leftmost column) and VRE units as well as storage (rightmost column).
Events |  |  | Shows all time periods where there has been a lack of capacity, a lack of reserve capacity, VRE curtailments, or a lack of capacity adequacy (investment mode only).
| Capacity inadequacy (MW) |  | Insufficient capacity to meet the demand plus the capacity margin (if in use) - relevant for investment mode only
| Reserve inadequacy node (MW) |  | Insufficient reserve capacity in nodes
| Reserve inadequacy nodeGroup (MW) |  | Insufficient reserve capacity in nodeGroups
| Inertia inadequacy (MWs) |  | Inertia smaller than inertia requirement
| Loss of load (MW) |  | Load shedding over time
| Excess load (MW) |  | Excess load over time
| Demand (MW) |  | Exogenous energy demand in the node
| Imports (MW) |  | Exogenous energy imports/exports
| Non-VRE generation (MW) |  | Generation from non-VRE units (VRE units use 'cf' time series or 'inflow' without storage)
| VRE generation (MW) |  | Generation from units that use 'cf' time series in the input data, before any curtailments
| Inflow generation (MW) |  | Generation from units that use 'inflow' time series without storage in the input data, before any curtailments
| Consumption (MW) |  | Endogenous energy demand in the node (by modelled demand response or charging storage units)
| Transfer in (MW) |  | Energy transfers into this node
| Transfer out (MW) |  | Energy transfers out from this node
| Converted (MW) |  | Energy conversion from (positive) and/or to (negative) the node
| Curtailed (MW) |  | Curtailed VRE generation
| Spilled (MW) |  | Energy spilled from storages that can spill (units with a storage and an 'inflow')
| Actual net load (MW) |  | Energy demand minus (curtailed) variable generation (units using 'cf' time series or 'inflow' without storage)
| Net load ramp (MWh/h) |  | Change from the previous period to the current period in the net load (see previous item)
| Precalculated reserve requirement (MWh/h) |  | The required upward reserve based on the exogenous time series ('ts_reserves' in the input file)
| Dynamic reserve requirement (MWh/h) |  | The required upward reserve calculated by multiplying the 'reserve_increase_ratio' of VRE units with their generation in that time periods (VRE units use 'cf' time series or 'inflow' without storage)
| Reserve conventional (MWh/h) |  | Upward reserve provided by non-VRE units (VRE units use 'cf' time series or 'inflow' without storage)
| Reserve VRE node (MWh/h) |  | Upward reserve provided by VRE units in each node (VRE units use 'cf' time series or 'inflow' without storage)
| Price CUR/MWh |  | Marginal energy price in the node
| Non synchronous shadow value (CUR/MW) |  | Marginal value for more non-synchronous generation
RampRoom 1h |  | Net load ramps and available ramping capacities | Line in the middle shows the net load ramps from the previous time period. 1h ramping (upward and downward) shows the available one hour ramping capability in available non-VRE units. 1h VRE shows in addition the ramping capability of VRE units.
RampRoom 4h |  | Net load ramps and available ramping capacities | Line in the middle shows the net load ramps from the time period that took place four time periods ago. 4h ramping (upward and downward) shows the available four hour ramping capability in available non-VRE units. 4h VRE shows in addition the ramping capability of VRE units.
GenType |  | Energy generation by unit type | Energy generation by unittype over time. Demand is shown with a black line. 'Generation' above the demand is either charging of storages, conversion to other grids, or curtailment of VRE.
Units
| Capacity (MW) | Capacity | Capacity of each unit in each scenario
| Generation (MWh) | Generation | Generation of each unit in each scenario
| Charge/consume (MWh) | Flexible demand | Charging of storage units and consumption by demand increase in each scenario
| Convert (MWh) | Conversion into (+) / from (-) | Energy converted by the unit from other grids (-) or into other grids (+)
| Curtail/spill (MWh) | Curtailment or spill | Energy curtailed or spilled by the unit
| Utilization (%) | Utilization rate in percents | Average utilization rate of the unit during the modelling period
| Max. ramp up (p.u.) | Maximum upward ramp | Maximum upward unit ramp during the modelling period using normalized range 0-1 (p.u. - per unit)
| Max. ramp down (p.u.) | Maximum downward ramp | Maximum downward unit ramp during the modelling period using normalized range 0-1 (p.u. - per unit)
| Reserve provision (%) | Reserve participation rate | Average reserve participation rate of the unit during the modelling period
Transfers
| Rightward (TWh) | Rightward energy transfer | Energy transfer from the upper node to the lower node
| Leftward (TWh) | Leftward energy transfer | Energy transfer from the lower node to the upper node
| Utilization rightward (%) | Rightward transfer utilization | Utilization of the transfer connection in the direction of upper node to the lower node
| Utilization leftward (%) | Leftward transfer utilization | Utilization of the transfer connection in the direction of lower node to the upper node
| Max. ramp rightward (p.u.) | Maximum rightward ramp | Maximum rightward ramp in the transfer connection in the direction of upper node to the lower node using normalized range 0-1 (p.u. - per unit)
| Max. ramp leftward (p.u.) | Maximum leftward ramp | Maximum leftward ramp in the transfer connection in the direction of upper node to the lower node using normalized range 0-1 (p.u. - per unit)
StorageContent |  | Storage contents over time | Storage contents over time (MWh)
OnlineUnit |  | Unit online capacities over time | Unit online capacities over time (MW)
ReserveUnit |  | Unit reserve participation | Reserve participation of different units over time (MWh/h)
Grid_t |  | Evolution of different parameters in each energy grid over time
| Demand (MW) |  | Exogenous energy demand in the node
| Charge/consume (MW) |  | Endogenous energy demand in the node (by modelled demand response or charging storage units)
| Import (MW) |  | Exogenous energy imports/exports
| Non-VRE generation (MW) |  | Generation from non-VRE units (VRE units use 'cf' time series or 'inflow' without storage)
| VRE generation (MW) |  | Generation from units that use 'cf' time series in the input data, before any curtailments
| Inflow generation (MW) |  | Generation from units that use 'inflow' time series without storage in the input data, before any curtailments
| Transfer losses (MW) |  | Losses from the energy transfer between nodes
| Convert (MW) |  | Energy conversion from (positive) and/or to (negative) other energy grids
| Curtailed (MW) |  | Curtailed VRE generation
| Loss of load (MW) |  | Load shedding over time
| Excess load (MW) |  | Excess load over time
| Spill (MW) |  | Energy spilled from storages that can spill (units with a storage and an 'inflow')
| Net load (MW) |  | Energy demand minus (curtailed) variable generation (units using 'cf' time series or 'inflow' without storage)
| Net load ramp (MWh/h) |  | Change from the previous period to the current period in the net load (see previous item)
| Precalculated reserve need (MWh/h) |  | The required upward reserve based on the exogenous time series ('ts_reserves' in the input file)
| Dynamic reserve need (MWh/h) |  | The required upward reserve calculated by multiplying the 'reserve_increase_ratio' of VRE units with their generation in that time periods (VRE units use 'cf' time series or 'inflow' without storage)
| Non-VRE reserve (MWh/h) |  | Upward reserve provided by non-VRE units (VRE units use 'cf' time series or 'inflow' without storage)
| VRE reserve (MWh/h) |  | Upward reserve provided by VRE units (VRE units use 'cf' time series or 'inflow' without storage)
| Weighted price (CUR/MWh) |  | Average price in the grid weighted by the demand in each node of the grid
Transfers_t |  |  | Energy transfers between each node over time (positive is rightward, negative leftward)
genUnit |  | Energy generation by unit | Energy generation from each unit over time. Demand is shown with a black line. 'Generation' above the demand is either charging of storages, conversion to other grids, or curtailment of VRE.
Costs
| Inv. cost (M CUR) | Investment costs | Investment costs for each scenario. Includes both the investments made by the model as well as the 'invested capacity' investment costs, which are taken from the input data as forced investments.
| Fixed cost (M CUR) | Fixed annual costs | Fixed annual costs for each scenario for all units (both invested and existing).
| O&M (M CUR) | Operation and maintenace costs | Operation and maintenace costs for each scenario. Does not include fuel or emission costs.
| Fuel (M CUR) | Fuel costs | Fuel costs for each scenario.
| CO2 (M CUR) | CO2 costs | CO2 costs for each scenario.
| Startups (M CUR) | Start-up costs | Start-up costs for each scenario.
| Curtailment penalty (M CUR) | Penalty costs for VRE curtailments | Penalty costs for VRE curtailments based on the 'curtailment_penalty' in the input data.
| Loss of load penalty (M CUR) | Penalty costs for load shedding | Penalty costs for load shedding based on the 'loss_of_load_penalty' in the input data.
| Excess load penalty (M CUR) | Penalty costs for excess load | Penalty costs for excess load based on the 'loss_of_load_penalty' in the input data.
| Loss of reserves penalty (M CUR) | Penalty costs for reserve violations | Penalty costs for not having enough reserves based on the 'loss_of_reserves_penalty' in the input data.
| Lack of capacity penalty (M CUR) | Penalty costs for capacity violations | Penalty costs for not having enough capacity based on the 'lack_of_capacity_penalty' in the input data assuming that investment mode and 'use_capacity_margin' are turned on.
Costs_unittype |  | Annualized costs | Annualized costs for each unit type, penalty category and transfer connection investments.
Units_invest
| Invest (MW) | Invested capacity | Invested capacity in MW (investment mode only)
| Invest dual (CUR per kW) | Shadow value for additional capacity | How much total system costs would change if one additional kW was built, considers the cost of investment and the potential cost reductions in the rest of the system (investment mode only)
| Invest (MWh) | Invested capacity | Invested capacity in MWh (investment mode only)
| Invest dual (CUR per kWh) | Shadow value for additional capacity | How much total system costs would change if one additional kW was built, considers the cost of investment and the potential cost reductions in the rest of the system (investment mode only)
Transfers_invest
| Invest (MW) | Invested capacity | Invested capacity in MW (investment mode only)
| Invest dual (CUR per kW) | Shadow value for additional capacity | How much total system costs would change if one additional kW was built, considers the cost of investment and the potential cost reductions in the rest of the system (investment mode only)
RampRoom_1h |  | 1h ramping need and capability
| Net load ramp (MWh/h) |  | The change in the net load from the previous time period to the current time period
| Upward/downward 1h ramping (MWh/h) |  | The available one hour (not time period) ramping capability in non-VRE units
| +upward/downward 1h VRE (MWh/h) |  | The available one hour ramping capability in VRE units (considers their committed position
| +upward/downward 1h transfers (MWh/h) |  | The available one hour ramping capability in the transfers connection (considers the available VRE+non-VRE ramping capability in the neighbouring node, but does not consider neigbours' neigbour)
RampRoom_4h |  | 4h ramping need and capability
| Net load ramp (MWh/h) |  | The change in the net load from the fourth prior time period to the current time period
| Upward/downward 4h ramping (MWh/h) |  | The available four hour (not time period) ramping capability in non-VRE units
| +upward/downward 4h VRE (MWh/h) |  | The available four hour ramping capability in VRE units (considers their committed position
| +upward/downward 4h transfers (MWh/h) |  | The available four hour ramping capability in the transfers connection (considers the available VRE+non-VRE ramping capability in the neighbouring node, but does not consider neigbours' neigbour)
Node_t
| Demand (MW) |  | Exogenous energy demand in the node over time
| Charge/consume (MW) |  | Endogenous energy demand in the node (by modelled demand response or storage units capable of charging)
| Import (MW) |  | Exogenous energy imports/exports
| Non-VRE Generation (MW) |  | Generation from non-VRE units (VRE units use 'cf' time series or 'inflow' without storage)
| VRE generation (MW) |  | Generation from units that use 'cf' time series in the input data, before any curtailments
| Inflow generation (MW) |  | Generation from units that use 'inflow' time series without storage in the input data, before any curtailments
| Transfer in (MW) |  | Energy transfers into the node
| Transfer out (MW) |  | Energy transfers out from the node
| Convert (MW) |  | Energy conversions from (positive) and/or to (negative) other energy grids
| Excess load (MW) |  | Excess load over time
| Curtailed (MW) |  | Curtailed VRE generation
| Loss of load (MW) |  | Load shedding over time
| Spill (MW) |  | Energy spilled from storages that can spill (units with a storage and an 'inflow')
| Net load (MW) |  | Energy demand minus (curtailed) variable generation (units using 'cf' time series or 'inflow' without storage)
| Net load ramp (MWh/h) |  | Change from the previous period to the current period in the net load (see previous item)
| Precalculated reserve need (MWh/h) |  | The required upward reserve based on the exogenous time series ('ts_reserves' in the input file)
| Dynamic reserve need (MWh/h) |  | The required upward reserve calculated by multiplying the 'reserve_increase_ratio' of VRE units with their generation in that time periods (VRE units use 'cf' time series or 'inflow' without storage)
| Non-VRE reserve (MWh/h) |  | Upward reserve provided by non-VRE units (VRE units use 'cf' time series or 'inflow' without storage)
| VRE Reserve (MWh/h) |  | Upward reserve provided by VRE units (VRE units use 'cf' time series or 'inflow' without storage)
| Weighted price (CUR/MWh) |  | Average price in the grid weighted by the demand in each node of the grid